## Compliance Check
Lighting & Power Controls Compliance Documentation ASHRAE 90.1 2022
Project Name | [8 empty] | Permit Number
Project Address | [8 empty] | Contact Name
Contact Email
Instructions: See ASHRAE 90.1 Section 9.4 for additional information and instruction.
No
Yes
N/A
Step 1 |  | RM 100, RM 102 | Enter Room # or Space ID# for your project where applicable.
Select "N/A" to identify there are no rooms or spaces of this type proposed for the scope of this project.
Add space types at the bottom of this form as necessary. See ASHRAE 90.1 Table 9.6.1 for more types and associated required controls.
Step 2 |  |  | Required |  | All control functions indicated as "Required" are mandatory and shall be implemented.
|  |  | Required | Yes | Enter "Yes" to identify the required control is proposed for this project.
|  |  | Required | N/A | Enter "N/A" to identify there is a code exception for the required control. Please provide explanation in the space provided below the spreadsheet.
City of Bend Stamp
Step 3 |  |  |  |  | ADD 1 |  | ADD 1 |  | If a space type has functions indicated as "ADD1", then at least one of those functions shall be implemented.
[5 empty] | ADD 2 |  | ADD 2 |  | If a space type has functions indicated as "ADD2", then at least one of those functions shall be implemented.
[5 empty] | ADD #1 | Yes | ADD #1 | No | Select "Yes" to identify which of the options for the required control is proposed for this project.
[5 empty] | ADD #1 | N/A | ADD #1 | N/A | Select "N/A" to identify there is a code exception for the required control. Provide explanation below.
Interior Lighting Controls |  |  | 9.4.1.1
Space Type | Not Applicable? | Room # or Space ID# | Local Control | Proposed? | Manual ON | Proposed? | Partial Automatic ON | Proposed? | Multilevel Lighting Control | Proposed? | Daylight Response Sidelight | Proposed? | Daylight Response Toplight | Proposed? | Automatic Reduction (Full OFF complies) | Proposed? | Automatic Full OFF | Proposed? | Scheduled Shutoff | Proposed? | N/A true false value
Table 9.5.2.1-1 |  |  | 9.4.1.1(a) |  | 9.4.1.1(b) |  | 9.4.1.1(c) |  | 9.4.1.1(d) |  | 9.4.1.1(e) |  | 9.4.1.1(f) |  | 9.4.1.1(g) |  | 9.4.1.1(h) |  | 9.4.1.1(i)
Restroom | [16 empty] | Required | No |  |  | FALSE
Electrical/ Mechanical Room |  |  | Required | No | [12 empty] | Required | No |  |  | FALSE
Computer Room >20W/SFT |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | Required | No | Required | No |  |  | ADD #2 | No | ADD #2 | No | FALSE
Stairwell | [10 empty] | Required | No | Required | No | Required | No | ADD #2 | No | ADD #2 | No | FALSE
Corridor |  |  | Required | No | [6 empty] | Required | No | Required | No | Required | No | ADD #2 | No | ADD #2 | No | FALSE
Lobby |  |  | Required | No | [6 empty] | Required | No | Required | No | Required | No | ADD #2 | No | ADD #2 | No | FALSE
Elevator Lobby |  |  | Required | No | [6 empty] | Required | No | Required | No |  |  | ADD #2 | No | ADD #2 | No | FALSE
Break Room |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | Required | No | Required | No |  |  | Required | N/A |  |  | FALSE
Conference Room |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | Required | No | Required | No |  |  | Required | No |  |  | FALSE
Office < 150 |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | [6 empty] | Required | No |  |  | FALSE
Office < 150 |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | [6 empty] | Required | No |  |  | FALSE
Office >150 < 300 |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | [6 empty] | Required | No |  |  | FALSE
Office > 300 |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | Required | No | Required | No | Required | No | Required | No |  |  | FALSE
Dining Area |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | Required | No | Required | No |  |  | ADD #2 | No | ADD #2 | No | FALSE
Kitchen |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No | Required | No | Required | No |  |  | ADD #2 | No | ADD #2 | No | FALSE
Sales Area |  |  | Required | No | ADD #1 | No | ADD #1 | No | Required | No |  |  | Required | No |  |  | ADD #2 | No | ADD #2 | No | FALSE
Dressing Fitting Room | [16 empty] | ADD #2 | No | ADD #2 | No | FALSE
Storage Room < 50 |  |  | Required | No | Required | No | [10 empty] | Required | No |  |  | FALSE
Storage Room > 50 |  |  | Required | No | [12 empty] | Required | No |  |  | FALSE
Warehouse Storage |  |  | Required | No | ADD #1 | No | ADD #1 | No |  |  | Required | No | Required | No | Required | No | ADD #2 | No | ADD #2 | No | FALSE
Manufacturing Areas |  |  | Required | No | ADD #1 | No | ADD #1 | No |  |  | Required | No | Required | No |  |  | ADD #2 | No | ADD #2 | No | FALSE
Parking Garage Lighting Controls |  |  | 9.4.1.2
Parking Garage Area Type |  | Parking Garage Area Designation | Scheduled Shutoff Controls | Proposed? | Automatic Occ Sensor 50% Power Controls | Proposed? | Scheduled Reduced Power Controls | Proposed? | Automatic Daylight Responsive Shutoff Controls | Proposed?
Section 9.4.1.2 |  |  | 9.4.1.2(a) |  | 9.4.1.2(b) |  | 9.4.1.2(c) |  | 9.4.1.2(d)
Covered Parking Areas |  |  | Required | No | Required | No | [14 empty] | FALSE
Daylight Exempt Areas between 20 and 50 ft from Perimeter | [6 empty] | Required | No | [12 empty] | FALSE
20 Ft Area at Daylighted Perimeter | [8 empty] | Required | Yes | [10 empty] | FALSE
Special Application Lighting Controls |  |  | 9.4.1.3
Special Application Type |  | Room # or Space ID# | Local Control | Proposed? | Automatic Full OFF | Proposed? | Scheduled Shutoff | Proposed? | Automatic Occupancy Sensor 100% Shutoff Controls | Proposed? | Integral Control on the Device | Proposed? | Local Independent Control | Proposed? | Automatic Full OFF | Proposed? | Scheduled Shutoff | Proposed?
Section 9.4.1.3 |  |  | 9.4.1.3(a) |  | 9.4.1.3(a) |  | 9.4.1.3(a) |  | 9.4.1.3(b) |  | 9.4.1.3(c)(1) |  | 9.4.1.3(c)(2) |  | 9.4.1.3(c) |  | 9.4.1.3(c)
Display or Accent Lighting |  |  | Required | No | ADD #1 | No | ADD #1 | No | [12 empty] | FALSE
Guestroom Lighting and Receptacles | [8 empty] | Required | Yes | [10 empty] | FALSE
Guestroom Bathrooms | [8 empty] | Required | No | [10 empty] | FALSE
Supplemental Task Lighting | [10 empty] | ADD #1 | No | ADD #1 | No | ADD #2 | No | ADD #2 | No |  |  | FALSE
Exterior Lighting Controls |  |  | 9.4.1.4
Outdoor Area Type |  | Outdoor Area Designation | Automatic Daylight Responsive Shutoff Controls | Proposed? | Scheduled Shutoff Controls | Proposed? | Scheduled 50% Power Controls | Proposed? | Automatic Activity Responsive 50% Power Controls | Proposed? | Automatic Activity Responsive 50% Power Controls | Proposed?
Tables 9.4.2-2, or 9.4.1.4 |  |  | 9.4.1.4(a) |  | 9.4.1.4(b) |  | 9.4.1.4(c)1 |  | 9.4.1.4(c)2 |  | 9.4.1.4(d)
Uncovered parking areas |  |  | Required | No | [6 empty] | Required | No | [8 empty] | FALSE
Exterior walkways |  |  | Required | No |  |  | ADD #1 | No | ADD #1 | No | [10 empty] | FALSE
Landscaping |  |  |  |  | Required | No | [14 empty] | FALSE
Building Façade |  |  |  |  | Required | No | [14 empty] | FALSE
Building entrances |  |  | Required | No |  |  | ADD #1 | No | ADD #1 | No | [10 empty] | FALSE
Building Exits |  |  | Required | No |  |  | ADD #1 | No | ADD #1 | No | [10 empty] | FALSE
Signage (exempt) | [20 empty] | FALSE
Loading docks |  |  | Required | No |  |  | ADD #1 | No | ADD #1 | No | [10 empty] | FALSE
Outdoor Sales |  |  | Required | No |  |  | ADD #1 | No | ADD #1 | No | [10 empty] | FALSE
Outdoor Dining |  |  | Required | No |  |  | ADD #1 | No | ADD #1 | No | [10 empty] | FALSE
Interior Receptacle Controls |  |  | 8.4.2
Space Type |  | Room # or Space ID# | Scheduled 50% Shutoff Controls | Proposed? | Automatic Occ Sensor 50% Shutoff Controls | Proposed? | Lighting Occ Sensor 50% Shutoff Controls | Proposed? | Scheduled 25% Shutoff Controls | Proposed? | Automatic Occ Sensor 25% Shutoff Controls | Proposed? | Lighting Occ Sensor 25% Shutoff Controls | Proposed?
Section 8.4.2 |  |  | 8.4.2(a)(a) |  | 8.4.2(a)(b) |  | 8.4.2(a)© |  | 8.4.2(b)(a) |  | 8.4.2(b)(b) |  | 8.4.2(b)(c)
Private Offices |  |  | ADD #1 | No | ADD #1 | No | ADD #1 | No | [12 empty] | FALSE
Conference Rooms |  |  | ADD #1 | No | ADD #1 | No | ADD #1 | No | [12 empty] | FALSE
Print/Copy Rooms |  |  | ADD #1 | No | ADD #1 | No | ADD #1 | No | [12 empty] | FALSE
Break Rooms |  |  | ADD #1 | No | ADD #1 | No | ADD #1 | No | [12 empty] | FALSE
Classrooms |  |  | ADD #1 | No | ADD #1 | No | ADD #1 | No | [12 empty] | FALSE
Individual Workstations |  |  | ADD #1 | No | ADD #1 | No | ADD #1 | No | [12 empty] | FALSE
Modular Furniture Branch Circuits | [8 empty] | ADD #1 | No | ADD #1 | No | ADD #1 | No | [6 empty] | FALSE
Electrical Energy Monitoring |  |  | 8.4.3 and 6.4.3.11
Building Type |  | Total Building Sq Ft Area | Total Electrical Energy | Proposed? | HVAC Systems | Proposed? | Interior Lighting | Proposed? | Exterior Lighting | Proposed? | Receptacle Circuits | Proposed? | Electric-motor-driven chilled-water plant | Proposed?
Section 8.4.3 |  |  | 8.4.3.1(a) |  | 8.4.3.1(b) |  | 8.4.3.1(c) |  | 8.4.3.1(d) |  | 8.4.3.1(e) |  | 6.4.3.11
Buildings less than 25,000 sq ft | [12 empty] | Required | No | [6 empty] | FALSE
Buildings equal to or over 25,000 sq ft |  |  | Required | No | Required | No | Required | No | Required | No | Required | No | Required | No | [6 empty] | FALSE
Each tenant space equal to or over 10,000 sq ft |  |  | Required | No | Required | No | Required | No | Required | No | Required | No | Required | No | [6 empty] | FALSE
Residential buildings with less than 10,000 sq ft common area | [12 empty] | Required | No | [6 empty] | FALSE
Residential buildings equal to or over 10,000 sq ft common area |  |  | Required | No | Required | No | Required | No | Required | No | Required | No | Required | No | [6 empty] | FALSE
Control and Monitoring Exemptions |  |  | Use the following to provide details to explain all exceptions used in the above tables.
Space/Area Type |  | Room/Space/Area Designation | Code Section for Exception |  | Description of why the exception applies.
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A
N/A